## Tabelle1
HV-System
Rated frequency f |  | Hz
Rated Voltage of HV-System |  | kV
Maximum initial short-circuit power S"k |  | MVA
or maximum initial short-circuit current I"k |  | kA
R/X Ratio |  | pu
Step-up transformer (two-wingding)
Rated voltage HV-side | x | kV
Rated voltage MV-side | x | kV
Rated Power | x | MVA
Rated Frequency | x | Hz
Short-circuit impedance uk | x | %
Ohmig part of short-circuit impedance uR | x | %
or short-circuit losses |  | kW
Generator
Rated voltage | x | kV
Minimum/Maximum service voltage |  | %
Rated power S | x | MVA
Rated power factor cosφ |  | pu
Rated frequeny | x | Hz
Speed n |  | min-1
Method of grounding of generator star point
Direct axis
synchronous reactance xd,unsat | x | %
transient reactance x'd,sat | x | %
subtransient reactance x"d,sat | x | %
short-circuit transient time constant T'd | x | s
short-circuit subtransient time constant T"d | x | s
Quadrature axis
synchronous reactance xq |  | %
transient reactance x'q |  | %
subtransient reactance x"q |  | %
short-circuit transient time constant T'q |  | s
short-circuit subtransient time constant T"q |  | s
Leakage reactance xas |  | %
Armature time constant Ta | x | s
Moment of inertia of turbine/generator J |  | kgm²
Flywheel effect GD² |  | Mpm²
Inertia time constant TA |  | s
Auxiliary transformer (two-wingding)
Number of AUX-Transformer
Rated voltage MV-side |  | kV
Rated voltage LV-side |  | kV
Rated Power |  | MVA
Rated Frequency |  | Hz
Short-circuit impedance uk |  | %
Ohmig part of short-circuit impedance uR |  | %
or short-circuit losses |  | kW
connected LV-motors (alone or in series with aux-transformer)
Number of motors
Rated voltage Ur | x | kV
Stator resistance of asynchronous motor rS | x | Ω
Stator reactance of asynchronous motor xS | x | Ω
Rotor resistance of asynchronous motor rR | x | Ω
Rotor reactance of asynchronous motor xR | x | Ω
Rated motor starting current related to motor current ILR/Ir | x | pu
Impedance ratio R/X | x | pu
Rated power S | x | MVA
Cable connections
Cabel type |  | ---
Number of parallel lines
Rated voltage Ur |  | kV
Length l |  | km
Specific resistance per unit length R' |  | Ω/km
Specific reactance per unit length X' |  | Ω/km
Reactors
Rated voltage Ur |  | kV
Rated current Ir |  | A
Short-circuit impedance uk |  | %
Impedance ratio R/X |  | pu